GPU-Accelerated Patient-Specific Coronary Tree Generation and Natural-Physics Hemodynamic Simulation from XCAT Phantoms to Capillary Scale

Purpose: To present an open-source, GPU-accelerated computational pipeline that generates patient-specific 3-D coronary artery trees from XCAT digital phantoms down to capillary diameter (6 μm) and simulates blood flow and contrast transport using natural physics (Poiseuille + Pries non-Newtonian viscosity), without reverse calibration to clinical target flows. The system enables in-silico stenosis assessment, virtual clinical trials, and pre-clinical evaluation of CT angiography protocols.

Materials and Methods: We developed two complementary Julia frameworks: (1) VascularTreeSim.jl grows competitive constrained-constructive-optimization trees from XCAT NRB centerlines to 200 μm using GPU-accelerated competitive distance fields (CUDA kernels, 256-thread blocks) and recursively bifurcates to 6 μm capillary terminals while preserving XCAT-measured diameters via a max-anatomy Murray rule; (2) FlowContrastSim.jl computes per-segment Hagen-Poiseuille resistance with Pries (1992) diameter- and hematocrit-dependent viscosity and Pries-Secomb (2005) endothelial-surface-layer correction, performs top-down pressure/flow distribution, and simulates gamma-variate iodinated contrast bolus transport with sparse-matrix optimization for trees exceeding 100 million segments. Per-tree weighted-Voronoi territory assignment uses Dodge 1992 angiographic mean adult proximal diameters as anatomical priors (LAD 3.7 mm, LCX 3.4 mm, RCA 3.9 mm); per-tree p95-saturation stopping yields Murray-consistent terminal counts. Pipeline was validated on the XCAT vmale50 phantom (heart, 1600×1400×500 voxels). LAD proximal stenosis was simulated by uniform diameter reduction across the 23 dias_lad1 segments (~12 mm total proximal length) at 0%, 10%, …, 90%.

Results: The pipeline generated patient-specific LAD/LCX/RCA trees totaling 180 million segments with >99% segment connectivity. Per-tree natural-physics root flow under fixed 100→15 mmHg boundary conditions yielded LAD 198.7 mL/min (clinical hyperemic target 242 mL/min, 0.82× target). The streaming CSV loader processed individual 35 GB single-tree CSVs in <60 seconds without out-of-memory errors. GPU-accelerated competitive territory assignment ran at <1 second per scan on 1.7-million-point domains (>50× faster than CPU). The LAD stenosis sweep reproduced the classic Gould fractional-flow-reserve curve: <50% stenosis preserved >82% baseline flow; the clinically-significant 70% stenosis threshold reduced flow to 37% of baseline (104 mL/min); 90% stenosis collapsed flow to 3% baseline (8 mL/min), consistent with published in-vivo and ex-vivo hemodynamic literature.

Conclusion: The proposed open-source pipeline reproduces patient-specific coronary anatomy and hemodynamics from XCAT phantoms to capillary scale using natural physics and literature anatomical priors, without target-flow calibration. Stenosis sweeps reproduce the classic Gould curve, demonstrating clinical fidelity. The framework provides a foundation for in-silico cardiovascular trials.

Clinical Relevance Statement: This pipeline enables virtual clinical trials of CT-angiography-based stenosis assessment, contrast-agent dosing, and radiation protocol optimization without animal or human testing, accelerating FDA-pathway evaluation of cardiac imaging innovations and supporting personalized fractional-flow-reserve assessment from non-invasive imaging.